## EU AI Act Classification
EU AI ACT RISK CLASSIFICATION — ClinicalCompanion v1.0
SECTION A: Risk Classification (YOUR ANALYSIS)
Step | Question | Your Answer | Evidence / Justification | Article Reference | Result
1 | Does the system engage in any prohibited practices under Article 5? | No | No evidence of prohibited practices (social scoring, manipulative subliminal techniques, real-time remote biometric ID in public spaces, or untargeted facial scraping). Clinical use is decision support for professionals. | Article 5 | Not Prohibited
2 | Is the system a safety component under EU harmonisation legislation (Annex I)? | Yes | The system is a safety component of a medical device software context and aligns with MDR 2017/745 pathway (Class IIa context used in assessment) | Article 6(1), Annex I | Falls under
3 | Does the system fall under any Annex III high-risk category? | Yes | Medical AI in clinical decision support context is captured as high-risk through Annex III/medical-device-linked route. | Annex III | Listed
4 | FINAL CLASSIFICATION | HIGH-RISK | Classified as high-risk primarily via Article 6(1) linkage to harmonized medical device legislation; therefore obligations in Articles 8-15 apply | Article 6(1), Annex I / MDR linkage | HIGH-RISK AI SYSTEM
SECTION B: Compliance Gap Analysis (Articles 8-15)
Article | Requirement | Description | Your Status Assessment | Your Severity Rating | Your Remediation Plan
Article 9 | Risk Management System | Establish and maintain risk management system throughout AI lifecycle | PARTIAL | High | Implement formal lifecycle risk management SOP aligned to ISO 14971 + EU AI Act, with quarterly review gates
Article 9 | Risk Identification | Identify and analyze known and reasonably foreseeable risks | PARTIAL | High | Expand hazard library to include hallucination, subgroup bias, automation bias, vendor/API failure, and cross-border transfer risks.
Article 9 | Residual Risk Evaluation | Residual risk after mitigation must be judged acceptable | PARTIAL | Medium | Define explicit residual risk acceptance criteria and board-approved risk appetite thresholds.
Article 10 | Data Governance | Training/validation/testing datasets subject to appropriate governance | PARTIAL | High | Formalize data lineage, quality controls, consent/legal-basis mapping, and dataset change control.
Article 10 | Dataset Representativeness | Datasets relevant, sufficiently representative, free of errors | NON-COMPLIANT | Critical | Immediate dataset augmentation for rare diseases, non-English notes, and complex multi-morbidity cohorts; re-validate before launch.
Article 10 | Special Category Data | Appropriate safeguards for health data processing | PARTIAL | High | Strengthen Article 9 GDPR safeguards: minimization, purpose limitation, encryption, DPIA updates, and access controls.
Article 11 | Technical Documentation | Draw up technical documentation before market placement | PARTIAL | Medium | Complete conformity-assessment-ready technical file (design, training data, metrics, risk controls, PMM plan).
Article 12 | Record-Keeping | Automatic recording of events (logs) throughout system lifetime | PARTIAL | Medium | Implement immutable, queryable audit logs for prompts, outputs, overrides, and incident traces.
Article 12 | Log Retention | Logs retained for appropriate period | PARTIAL | Low | Approve retention schedule and legal hold policy for AI logs across jurisdictions.
Article 13 | Transparency | Design to allow deployers to interpret output appropriately | PARTIAL | Medium | Improve confidence explanation, rationale display, and uncertainty signaling for clinicians.
Article 13 | Instructions for Use | Provide instructions for use to deployers | PARTIAL | Medium | Publish IFU with indications, contraindications, known limits, and mandatory human review guidance.
Article 14 | Human Oversight | Design to allow effective human oversight during use | PARTIAL | Medium | Require physician-in-the-loop checkpoints and documented override workflow in clinical protocols.
Article 14 | Override Capability | Enable deployer to override or reverse AI output | COMPLIANT | Low | Maintain and test override/rollback controls in UAT and incident drills.
Article 15 | Accuracy | Achieve appropriate level of accuracy for intended purpose | PARTIAL | High | Raise weak subgroup performance to threshold; keep overall accuracy above target with monitored drift controls.
Article 15 | Robustness | Resilient to errors, faults, inconsistencies; adversarial resilience | PARTIAL | Medium | Add stress testing for out-of-distribution and adversarial prompts; strengthen fallback behavior.
Article 15 | Cybersecurity | Cybersecurity measures appropriate to risk level | PARTIAL | High | Expand red-team testing, prompt-injection defenses, credential hardening, and supplier security clauses.
SECTION C: Your Classification Summary
Overall Risk Level: | HIGH-RISK
Number of Critical/High Gaps: | 6 (1 Critical + 5 High)
Timeline to Compliance: | 6-9 months (driven by subgroup performance remediation, conformity documentation, and governance hardening)
Key Recommendation for the Board: | Proceed only with conditional launch: close critical representativeness gap, complete conformity package, and enforce post-market monitoring gates.

## Risk Register
RISK REGISTER — ClinicalCompanion v1.0 (NIST AI RMF)
Risk ID | Risk Category | NIST RMF Function | Risk Description | Risk Owner | Likelihood (1-5) | Impact (1-5) | Risk Score (L×I) | Priority | Your Mitigation Strategy | Mitigation Status | Your Residual Likelihood | Your Residual Impact | Residual Score
R-001 | Technical | Measure | Clinical hallucinations: Model generates plausible but fabricated medical references or diagnostic suggestions not supported by evidence (current rate: 3.4%) | VP Engineering | 4 | 5 | 20 | Critical | Retrieval-augmented grounding, mandatory citation checks, unsafe-output blocker, physician confirmation for high-risk outputs. | In Progress | 3 | 4 | 12
R-002 | Ethical / Bias | Map | Demographic bias: Training data underrepresents Eastern European, Sub-Saharan African, and Southeast Asian populations, leading to potential diagnostic disparities | Chief Medical Officer | 4 | 4 | 16 | High | Rebalance data by underrepresented cohorts, subgroup-specific eval gates, fairness monitoring before release. | In Progress | 3 | 3 | 9
R-003 | Legal / Regulatory | Govern | EU AI Act non-compliance: Failure to complete conformity assessment before market entry could result in penalties up to 3% of global turnover and deployment prohibition | Head of Compliance | 3 | 5 | 15 | High | Formal EU AI Act compliance program, conformity assessment workstream, external legal review checkpoints. | Planned | 2 | 4 | 8
R-004 | Privacy / Security | Manage | Patient data re-identification: Residual re-identification risk through quasi-identifier combinations or model memorization of training data patterns despite de-identification pipeline | Data Protection Officer | 3 | 5 | 15 | High | Strong de-identification, PII scanning, tokenization, strict access controls, periodic penetration/privacy tests. | In Progress | 2 | 4 | 8
R-005 | Operational | Manage | Foundation model vendor dependency: FoundationHealth Inc. controls model weights, update cadence, and API availability. Unilateral updates could alter clinical performance; discontinuation would halt operations | VP Engineering | 3 | 4 | 12 | Medium | Multi-vendor contingency, SLA penalties, local fail-safe mode, business continuity runbooks. | Planned | 2 | 3 | 6
R-006 | Technical | Measure | Model drift: Performance degradation over time due to evolving clinical practices, new diseases, or changing patient populations without adequate monitoring | VP Engineering | 3 | 4 | 12 | Medium | Drift detection KPIs, retraining triggers, monthly recalibration, shadow testing on new case mix. | In Progress | 2 | 3 | 6
R-007 | Ethical / Safety | Map | Automation bias: Physicians may over-rely on ClinicalCompanion suggestions without sufficient independent judgment, particularly under time pressure or fatigue | Chief Medical Officer | 3 | 5 | 15 | High | UX friction for blind acceptance, mandatory rationale display, physician training and override audit. | Planned | 2 | 4 | 8
R-008 | Legal / Regulatory | Govern | Cross-border data transfer: Patient data flowing between EU infrastructure and US-based FoundationHealth API may violate GDPR Chapter V, particularly post-Schrems II | Data Protection Officer | 3 | 5 | 15 | High | SCC/TIA controls, EU data residency where feasible, transfer-impact assessments, DPO oversight. | Planned | 2 | 3 | 6
RISK SUMMARY (auto-calculated from your entries above)
Total Risks: | 8 |  | Average Risk Score: | 15
Critical (20-25): | 1 |  | Max Risk Score: | 20
High (15-19): | 5
SCORING GUIDE
Likelihood | 1 = Rare | 2 = Unlikely | 3 = Possible | 4 = Likely | 5 = Almost Certain
Impact | 1 = Negligible | 2 = Minor | 3 = Moderate | 4 = Major | 5 = Catastrophic
Priority | Critical: 20-25 | High: 15-19 | Medium: 10-14 | Low: 5-9 | Minimal: 1-4

## Vendor Evaluation
THIRD-PARTY AI VENDOR EVALUATION — FoundationHealth Inc.
SECTION A: Vendor Profile (reference data)
Company Name: | FoundationHealth Inc.
Founded: | 2021
Headquarters: | San Francisco, CA, USA
Funding: | Series C ($180M, 2024)
Employees: | 450
Revenue: | $85M (60% YoY, not yet profitable)
Certifications: | soc2_type2, iso_27001
SLA Uptime: | 99.9%
SECTION B: Evaluation Scorecard — enter scores from your notebook analysis
Category | Criteria Count | Your Total Score | Max Score | Your Score % | Your Risk Level | Key Finding
Model Transparency & Documentation | 5 | 15 | 25 | 60 | Medium | Documentation exists but not yet sufficient for full EU high-risk conformity expectations.
Data Privacy & Security | 6 | 25 | 30 | 83.3333 | Low | Strongest area: SOC2/ISO posture and mature security controls.
Model Governance & Lifecycle | 5 | 15 | 25 | 60 | Medium | Governance process exists but lifecycle controls and change governance need strengthening.
Contractual & Business Continuity | 6 | 18 | 30 | 60 | Medium | Acceptable baseline; concentration and continuity risk remain tied to provider dependency.
Regulatory & Ethical Alignment | 5 | 15 | 25 | 60 | Medium | Partial readiness; EU AI Act and fairness obligations require tighter commitments.
OVERALL | 27 | 88 | 135 | 65.1852 | Medium | 65.2% overall: viable with conditions, not ready for unconditional approval.
Scoring guide: | >=80% = Low Risk | 60-79% = Medium Risk | <60% = High Risk
SECTION C: Your Vendor Recommendation
Recommendation: | CONDITIONAL APPROVAL
Key Strengths: | Strong security posture; acceptable uptime/SLA baseline; good API maturity; responsive technical support model.
Key Weaknesses: | Limited assurance on subgroup fairness performance; regulatory readiness gaps for EU high-risk context; vendor concentration risk.
Required Mitigations: | Contractual milestones tied to fairness remediation, audit rights, incident transparency, and EU compliance evidence before go-live.
Contractual Requirements: | Add DPA/SCC safeguards, right-to-audit, model-change notification SLA, exit/portability clauses, stricter incident-reporting terms.

## Model Card
MODEL CARD — ClinicalCompanion v1.0 (Mitchell et al., 2019)
1. MODEL DETAILS (reference data)
Model Name: | FoundationHealth Medical LLM v3.2
Version: | 1.0
Type: | Clinical Decision Support System (CDSS)
Developer: | MedAssist AI
Planned Release: | 2025-09-01
Architecture: | Transformer-based, 7B parameters
Access Method: | API
Provider: | FoundationHealth Inc.
2. INTENDED USE (reference data)
Primary Functions: | Ranked diagnostic suggestions with confidence scores; Differential diagnosis support with reasoning; Evidence-based treatment considerations mapped to clinical guidelines; Risk flags for critical findings, drug interactions, deteriorating status
Intended Users: | Licensed physicians (primary care and specialists); Clinical fellows and residents (under attending supervision); Nurse practitioners and physician assistants (where authorized)
Out-of-Scope: | Autonomous diagnosis or treatment decisions; Standalone diagnostic tool (must not replace physician judgment); Patient-facing interface (no direct patient use); Pediatric populations (under 18) in initial release; Emergency triage as sole decision-making tool
3. TRAINING DATA (reference data)
Partner Hospital Network A (EU) | 280,000 records | Germany, France, Netherlands | EHR encounters
Partner Hospital Network B (US) | 170,000 records | United States (multi-state) | EHR encounters
PubMed Abstract Corpus | 2,100,000 records | Global | Medical literature abstracts
Expert Clinical Q&A | 12,000 records | EU, US | Curated Q&A pairs
Clinical Practice Guidelines | 340 records | EU, US, WHO | Practice guidelines
Total Records: | 2,562,340
4. KEY PERFORMANCE METRICS (from performance_metrics.csv)
Overall Top-3 Accuracy: | 91.7% (meets 90% target). Strong overall top-3 accuracy.
Hallucination Rate: | 3.4% (does NOT meet <2% target). Patient safety risk remains elevated.
Critical Finding Detection: | 94.2% (below 95% target). Close but not yet compliant with threshold.
Average Response Time: | 2.8 seconds (meets <5s SLA).
Physician Override Rate: | Use your measured override figure from notebook logs; interpretation: sustained physician override indicates calibrated skepticism, but high override in weak subgroups suggests trust/performance mismatch.
5. DISAGGREGATED PERFORMANCE (from performance_metrics.csv)
Gender Parity: | Male 92.1% vs Female 91.3% (0.8 pp gap, acceptable).
Age Groups: | 18-40: 93.5%, 41-64: 92.0%, 65+: 88.9% (65+ below target).
Specialty - Cardiovascular: | 94.1% (meets target).
Specialty - Neurological: | 90.3% (meets target, narrow margin).
Specialty - Rare Diseases: | 71.2% (18.8 pp below target). Material safety/equity concern for rare-condition support.
Language - Non-English: | 84.3% (5.7 pp below target; likely language/translation artifact risk).
Complexity - Multi-morbidity: | 74.0% (16.0 pp below target; weak for clinically complex patients).
6. FAIRNESS METRICS (from performance_metrics.csv)
Equalized Odds: | 0.96 (meets >0.90).
Demographic Parity: | 0.91 (meets >0.90; mild age disparity remains).
Predictive Parity: | 0.94 (meets >0.90; stable across major condition groups).
7. YOUR FAIRNESS ANALYSIS
Gender Parity Assessment: | Gender gap is small (0.8 pp) and operationally acceptable, but should remain monitored monthly.
Age Group Equity: | Age 65+ underperforms below threshold; elevated risk in older populations requires targeted retraining and human oversight safeguards.
Underserved Populations: | Rare disease, non-English, and multi-morbidity gaps are substantial and could create inequitable care quality in EU deployment.
Fairness Metrics Interpretation: | Parity metrics are encouraging but insufficient alone; outcome-level subgroup accuracy must be a hard launch gate.
8. YOUR ETHICAL CONSIDERATIONS
Bias Concerns: | Bias risk concentrated in underserved cohorts; mitigation: targeted data enrichment, subgroup thresholds, and escalation if parity degrades.
Patient Safety: | Safety controls include clinician-in-loop and escalation triggers, but hallucination and subgroup failures mean controls are not yet sufficient for unrestricted launch.
Automation Bias: | Automation bias risk is real; enforce mandatory rationale review, override logging, and training that AI output is advisory only.
Data Privacy: | Health data handling requires strict Article 9 GDPR safeguards, DPIA updates, and minimization/access enforcement; currently partial maturity.
9. YOUR LIMITATIONS & RECOMMENDATIONS
Known Limitations: | Key limits: high hallucination rate; weak rare-disease/multi-morbidity/non-English performance; incomplete conformity-ready documentation; vendor concentration risk.
Recommendations: | Before EU launch: (1) close subgroup gaps to threshold, (2) reduce hallucination to <2%, (3) complete conformity/technical documentation, (4) harden post-market monitoring with stop/go triggers, (5) finalize contractual protections with vendor.

## Monitoring & Incidents
POST-DEPLOYMENT MONITORING & INCIDENT RESPONSE PLAN
SECTION A: Key Performance Indicators (reference data)
KPI ID | Dimension | Metric Name | Measurement Method | Frequency | Threshold | Escalation Trigger | Responsible Role
KPI-001 | Clinical Performance | Top-3 Diagnostic Accuracy | Comparison against physician-confirmed diagnoses (sampled) | Weekly (sampled), Monthly (full) | >= 90% | Drops below 88% for 2 consecutive weeks | Data Science Team
KPI-002 | Clinical Performance | Hallucination Rate | Automated reference verification + physician flagging | Daily (auto), Weekly (manual) | < 2% (current: 3.4%) | Exceeds 5% or any critical hallucination | Data Science Team
KPI-003 | Clinical Performance | Critical Finding Detection | Audit against known critical cases in test set | Monthly | >= 93% | Drops below 90% | Clinical Safety Officer
KPI-004 | Clinical Performance | False Positive Rate (Critical) | Review of physician dismissal rates for critical alerts | Weekly | < 10% | Exceeds 15% | Data Science Team
KPI-005 | Clinical Performance | Drug Interaction Precision | Comparison against PharmaDB ground truth | Monthly | >= 85% | Drops below 80% | Data Science Team
KPI-006 | Fairness & Bias | Accuracy Parity (age groups) | Stratified accuracy comparison across age brackets | Monthly | Max gap < 5% across standard groups | Any group drops >7% below overall | AI Governance Analyst
KPI-007 | Fairness & Bias | Accuracy Parity (gender) | Stratified accuracy by gender | Monthly | Max gap < 3% | Gap exceeds 5% | AI Governance Analyst
KPI-008 | Fairness & Bias | Equalized Odds | FPR/FNR comparison across demographics | Quarterly | >= 0.90 across groups | Drops below 0.85 for any group | AI Governance Analyst
KPI-009 | Fairness & Bias | Underrepresented Pop. Performance | Dedicated evaluation on underrepresented data | Quarterly | Improving trend toward parity | Performance gap widening | Chief Medical Officer
KPI-010 | Operational | System Uptime | AWS CloudWatch infrastructure monitoring | Real-time | >= 99.9% | Drops below 99.5% in any month | VP Engineering
KPI-011 | Operational | Average Response Latency | API response time tracking | Real-time | < 5 seconds (p95) | p95 exceeds 8 seconds | VP Engineering
KPI-012 | Operational | API Error Rate | HTTP error code monitoring | Real-time | < 0.1% | Exceeds 1% | VP Engineering
KPI-013 | Operational | Vendor API Availability | FoundationHealth API health checks | Real-time | >= 99.9% per SLA | Any outage > 15 minutes | VP Engineering
KPI-014 | Data Quality | Input Data Completeness | Validation of required EHR fields | Per-request | >= 95% completeness | Drops below 90% | Data Science Team
KPI-015 | Data Quality | De-identification Validation | Automated PII scanning of model inputs | Daily | 0 PII leaks | Any PII detected in model input | Data Protection Officer
KPI-016 | Data Quality | Data Drift Detection | Statistical comparison of input distributions vs training data (KL divergence) | Monthly | KL divergence < 0.1 | KL divergence exceeds 0.2 | Data Science Team
SECTION B: AI-Specific Incident Taxonomy (from incident_types.csv)
Incident ID | Incident Type | Description | Example | Severity Range | Detection Method
[INC-01] | Clinical Hallucination | Model generates fabricated medical information, references, or diagnoses | Recommending a drug that does not exist or citing a non-existent clinical trial | S2-S1 | Automated reference verification, physician flagging
[INC-02] | Harmful Suggestion | Model output could lead to patient harm if followed | Suggesting contraindicated medication for documented allergy | S1 | Physician reporting, safety filter logs
[INC-03] | Bias-Related Harm | Model demonstrates systematic bias affecting care quality for specific groups | Consistently lower diagnostic accuracy for a specific ethnic or age group | S2-S1 | Stratified performance monitoring, fairness dashboards
[INC-04] | Privacy Breach | Patient identifiable information exposed through model behavior | Model outputs patient name or MRN in response (de-identification failure) | S1 | Automated PII scanning, audit log review
[INC-05] | Performance Degradation | Significant drop in model accuracy or reliability | Top-3 accuracy drops below 85% across all cases | S3-S2 | Automated KPI monitoring alerts
[INC-06] | Adversarial Manipulation | Deliberate attempt to manipulate model outputs | Prompt injection via crafted clinical notes to alter diagnostic suggestions | S2-S1 | Security monitoring, anomaly detection
[INC-07] | Vendor Service Disruption | FoundationHealth API outage or significant degradation | API returns errors, timeouts, or unacceptable latency for >15 minute | S3-S2 | Real-time API health checks
[INC-08] | Data Pipeline Failure | Failure in data ingestion, de-identification, or processing | De-identification engine fails; raw patient data sent to model API | S1 | Pipeline health monitoring, automated validation
[INC-09] | Unauthorized Access | Unauthorized user gains access to system or data | Compromised physician credentials used to query ClinicalCompanion | S2-S1 | Authentication logs, SIEM alerts
[INC-10] | Regulatory Non-Compliance | Discovery of non-compliance with applicable regulations | Post-market monitoring requirement not met per EU AI Act deadline | S3-S2 | Compliance calendar, internal audit
SECTION C: Severity Classification & Response Times (from severity_levels.csv)
Severity | Label | Definition | Response Time | Response (hours) | Containment Action | Incident Commander
S1 | Critical | Immediate risk to patient safety or major regulatory violation; system must be halted | Immediate (30 min) | 0.5 | Suspend system in affected facilities; notify users; preserve logs; activate full response team; notify regulators if required | Chief Medical Officer
S2 | High | Potential risk to patient safety or significant compliance issue; urgent action required | Within 2 hours | 2 | Restrict affected functionality; increase monitoring; notify facility admins; begin root cause analysis | VP Engineering
S3 | Medium | Degraded performance or moderate compliance concern; prompt action needed | Within 24 hours | 24 | Temporary guardrails; increased metric monitoring; scheduled fix next sprint | AI Governance Analyst
S4 | Low | Minor issue with limited impact; scheduled resolution acceptable | Within 1 week | 168 | Log incident; track in backlog; resolve in standard cycle | Data Science Team Lead
SECTION D: Your Escalation & Communication Procedures
Internal Escalation Path: | Escalation path: on-call Data Science/Platform triage first, then Incident Commander by severity (S1 CMO, S2 VP Eng, S3 Governance Analyst, S4 DS Lead), then Compliance/DPO if safety/privacy/regulatory impact.
External Notification (Regulatory): | Regulatory notification per EU AI Act Article 62 for serious incidents: trigger on S1 safety harm, major rights impact, or serious malfunction; notify competent authority without undue delay with incident facts, scope, and corrective actions.
Communication to Affected Users: | Communicate to affected hospitals via incident bulletin: impact, safe-use guidance, workaround/rollback, expected resolution time, and follow-up closure notice.
Lessons Learned Process: | Post-incident review within 5 business days: root cause, control failures, corrective/preventive actions, owner/due dates, and governance register update.
Monitoring Gaps You Identified: | Current KPI set is strong but needs explicit subgroup launch gates (rare disease, non-English, multi-morbidity) and hallucination trend trigger tightening.

## Executive Summary
EXECUTIVE GOVERNANCE SUMMARY — BOARD BRIEFING
Synthesize ALL your findings from the notebook and previous sheets into a board-ready summary.
1. SYSTEM OVERVIEW
System: | ClinicalCompanion v1.0 is a transformer-based clinical decision support AI integrated via API for physician-facing diagnostic assistance.
Purpose: | It provides ranked diagnostic suggestions, differential reasoning, and risk flags to support clinician decisions, not replace them.
Target Market: | EU launch targeted after remediation and conformity completion; current readiness supports conditional timeline in next 6-9 months.
2. RISK CLASSIFICATION
EU AI Act Classification: | HIGH-RISK under EU AI Act (Article 6(1) route via medical-device-linked obligations).
MDR Classification: | Class IIa (assessment basis used in governance analysis).
Key Regulatory Obligations: | Key obligations: lifecycle risk management, data governance/representativeness, technical documentation + logging, human oversight + post-market monitoring.
3. COMPLIANCE READINESS
Overall Readiness: | 72.5% readiness (adequate but not launch-ready without conditions).
Critical Gaps: | Critical/urgent gaps: dataset representativeness for underserved cohorts, hallucination reduction, conformity-ready documentation, and stronger EU privacy/compliance controls.
Timeline to Full Compliance: | 6-9 months, driven by model remediation cycles, validation evidence generation, and compliance documentation closure.
4. KEY RISKS
Top Risk: | Top risk: Clinical hallucination (score 20) due to direct patient safety and liability exposure if unsafe outputs are acted upon.
Risk Landscape: | 8 total risks: 1 Critical, 5 High, 2 Medium; average score 15, max 20.
Mitigation Effectiveness: | Portfolio risk reduced ~47.5% after mitigations (120 to 63), but residual safety/compliance exposure remains material.
5. VENDOR ASSESSMENT
Vendor: | FoundationHealth Inc.; overall 88/135 (65.2%), Medium vendor risk.
Recommendation: | CONDITIONAL APPROVAL with contractual and technical controls before production-scale EU deployment.
Key Concern: | Biggest concern is dependency on vendor model lifecycle and limited assurance on weak subgroup performance.
6. MODEL PERFORMANCE
Overall Accuracy: | Top-3 accuracy 91.7% meets target; overall performance acceptable at aggregate level.
Fairness Concerns: | Underperforming subgroups: Rare Diseases (71.2%), Multi-morbidity (74.0%), Non-English Notes (84.3%), Age 65+ (88.9%).
Critical Issue: | Hallucination 3.4% vs target <2%: elevated patient safety risk requiring pre-launch correction and tighter controls.
7. BOARD RECOMMENDATION
Launch Readiness: | CONDITIONAL
Conditions for Launch: | Launch only after subgroup thresholds are met, hallucination is reduced below target, and conformity documentation/governance controls are closed.
Required Actions (prioritized): | 1) Close rare-disease, multi-morbidity, non-English, and 65+ performance gaps. 2) Reduce hallucination below 2% with validated controls. 3) Complete conformity-assessment-ready technical documentation. 4) Enforce post-market monitoring and incident escalation gates. 5) Finalize vendor contractual safeguards (audit rights, change notices, SLA penalties, exit plan).
Estimated Time to Readiness: | 6-9 months to readiness under active remediation program.